## Sanitary
SANITARY AND WATER SUPPLY ITEMS (for Building items)
S.No | Description of item | Unit | S S RATE FOR 2004-05
1 | 2 | 3 | 4
1 | Supplying, laying, jointing and testing 101.6 mm SWG pipes of ISI make conforming to ISI 651 &4127 with airtight cement joints in CM 1.5 : 1 prop. incluidng excavation of trenches and socket pits in any soil (except rock requiring blasting) upto 1524 mm(5'0") depth and refilling with watering and tamping. | 1 RM | 122.9
2 | Supplying, laying, jointing and testing 101.6 mm SWG pipes of ISI make conforming to ISI 651 &4127 with airtight cement joints in CM 1:5:1 prop. incluidng excavation of trenches and socket pits in any soil (except rock requiring blasting) upto 914.4 mm (3'0") depth and refilling with watering and tamping. | 1 RM | 96
3 | a) Supplying & fixing SWG bends 101.6 mm | Each | 30
| b) - do - labour charges only | Each | 11
4 | Supplying & fixing 152.4 mm x 101.6 mm SWG gully traps of ISI make conforming to ISI 651 &4127 with C.I Grating & Constg. Brick masonrary in CM 1 :6 prop. Intermediae chamber and fitted with 304.8 mm x 288.6mm (12"x9")C.I Frame and hinged cover | Each | 231
5 | Supply of SWG pipe of ISI make conforming to ISI 651 4" dia (101.6mm) | 1 RM | 41.8
6 | Supply of SWG pipe of ISI make conforming to ISI 651 6" dia (152.4mm) | 1 RM | 56.5
7 | Supply of SWG pipe of ISI make conforming to ISI 651 8" dia (203.2mm) | 1 RM | 142.5
8 | Supply of SWG pipe of ISI make conforming to ISI 651 10" dia (254mm) | 1 RM | 209
9 | Constructing 914.4 mm (3'0") dia brick in CM 1:6 prop. Masonry inspection chamber upto 1524 mm (5'0") depth including plastering with CM 1:3 prop. 12.7 mm (1/2")thick both inside and outside and fitted with 508 mm (20") dia light weight 20 kg CI frame and cover. | Each | 2200
10 | Constructing 914.4 mm (3'0")dia brick in CM 1:6 prop. Masonry inspection chamber upto 914.4 mm (3'0") depth including plastering with CM 1:3 prop. 12.7 mm (1/2")thick both inside and outside and fitted with 508 mm (20") dia light weight 20 kg CI frame and cover. | Each | 1595
11 | Extra for provision of medium weight 40 Kg in place of light weight cover. | Each | 325
12 | Constructing 914.4 mm x 457.2 mm (3'0"x1'6") brick in CM 1:6 prop. Masonry Inspection chamber upto 914.4 mm (3'0") and fitted with light weight 914.4 mm x 457.2 mm (3'0"x1'6") C.I frame and cover of 40 Kg. | Each | 1700
13 | Constructing 457.2 mm x 457.2 mm (1'6"x1'6") brick in CM 1:6 prop. Masonry. Inspection chamber upto 914.4 mm (3'0") and fitted with light weight 457.2 mm x 457.2 mm (1'6"x1'6") C.I frame and cover of 20 Kg. | Each | 1025
14 | a) Supplying & fixing 101.6 mm C.I Plug Bend | Each | 150
| b) - do - labour charges only | Each | 30
15 | a) Supplying & fixing 152.4mm dia CI plug bend Ist quality | Each | 342.7
| b) - do - labour charges only | Each | 39.7
16 | a) Supplying & fixing 101.6mm dia CI Plain bend Ist quality | Each | 140
| b) - do - labour charges only | Each | 30
17 | a)Making drainage connection in the existing inspection including all repairs | Each | 60
| b) - do - labour charges only | Each | 35
18 | a)Supplying , laying, jointing and testing 152.4 mm SWG pipes of ISI make conforming to ISI 651 &4127 with airtight cement joints in CM 1.5 : 1 prop. incluidng excavation of trenches and socket pits in any soil (except rock requiring blasting) upto 151.2 cm depth and refilling with watering and tamping. | 1 RM | 160
| b) - do - labour charges only | 1 RM | 35
19 | a)Supplying , laying, jointing and testing 152.4 mm CC bed 1 : 2 : 4 Prop: using 19.05 mm gauge graded granite metal chips and cradling 101.6 mm SWG pipe line all round to have 76.2 mm thick cover over the sockets. | 1 RM | 40
| b) - do - labour charges only | 1 RM | 5
20 | a)Supplying , laying, jointing and testing 152.4 mm CC bed 1:2:4 Prop: using 19.05 mm gauge graded granite metal chips and cradling 152.4 mm SWG pipe line all round to have 76.2 mm thick cover over the sockets. | 1 RM | 70
| b) - do - labour charges only | 1 RM | 25
21 | Supplying & Laying 101.6 mm SWG channels with cement mortor joints with suitable brick masonry for fixing the channels in position | 1 RM | 41.9
| b) - do - labour charges only | 1 RM | 17.3
22 | a) Supplying & Laying 152.4 mm SWG channels with cement mortor joints with suitable brick masonry for fixing the channels in position | 1 RM | 78.3
| b) - do - labour charges only | 1 RM | 24.2
23 | a) Supplying & fixing 101.6 mm C.I Soil pipes with cement caulked joints and painted black | 1 RM | 235
| b) - do - labour charges only | 1 RM | 68
24 | a) Supplying and fixing 152.4 mm (6") CI soil pipe Ist quality with cement caulked joints and painted black ( single socket) | 1 RM | 425
| b) - do - labour charges only | 1 RM | 68
25 | a) Supplying and fixing 76.2 mm (3") CI soil pipe Ist quality with cement caulked joints and painted black ( single socket) | 1 RM | 140
| b) - do - labour charges only | 1 RM | 67.5
26 | a) Supplying and fixing 152.4 mm(6") CI soil pipe Ist quality with cement caulked joints and painted black ( Double socket) | 1 RM | 450
| b) - do - labour charges only | 1 RM | 67.5
27 | a) Supplying and fixing 76.2 mm(3") CI soil pipe 1st quality with cement caulked joints and painted black ( Double socket) | 1 RM | 160
| b) - do - labour charges only | 1 RM | 67.5
28 | a) Supplying & fixing 101.6 mm (4") CI soil single junction with plug | Each | 200
| b) - do - labour charges only | Each | 20
29 | a) Supplying & fixig 152.4 mm (6") CI soil singel junctin with plain | Each | 342.7
| b) - do - labour charges only | Each | 39.7
30 | a) Supplying & fixing 152.4 x 152.4 mm (6"x6") CI single junction plug /door Ist quality | Each | 395
| b) - do - labour charges only | Each | 23.8
31 | a) S& F 101.6 mm (4") CI soil double junction with plug | Each | 216
| b) - do - labour charges only | Each | 30
32 | a) S & F 101.6 x 76.2 mmm CI soil offsets (calcutta make) | Each | 135
| b) - do - labour charges only | Each | 15
33 | a) Supplying & fixing 152.4 x 152.4 mm CI single offset Ist quality | Each | 263.8
| b) - do - labour charges only | Each | 23.8
34 | a) Supplying & fixing 203.2 x 76.2 mm CI soil offsets Ist quality | Each | 223.8
| b) - do - labour charges only | Each | 23.8
35 | a) Supplying & fixing 101.6 mm x 152.4 mm C.I soil offsets (Calcutta make) | Each | 160
| b) - do - labour charges only | Each | 18
36 | a) Supplying & fixing 88.9 mm A.C cowls | Each | 35
| b) - do - labour charges only | Each | 6
37 | a) Supplying & fixing A.C Cowl 63.5 mm dia | Each | 25
| b) - do - labour charges only | Each | 5
38 | a) supplying & fixing 101.6 mm x 63.5 mm CI inverted double junction (Calcutta/Nagpur make) | Each | 300
| b) - do - labour charges only | Each | 26
39 | a) S & F 76.2 mm CI Naharytrap (Calcutta/Nagpur make) | Each | 155
| b) - do - labour charges only | Each | 24
40 | Removing and refixing W.C s | Each | 121
41 | Removing and refixing wash hand basins of any size with fittings complete | Each | 95
42 | a) S & F 76.2 x 101.6 mm teak wood block complete | Each | 13
| b) - do - labour charges only | Each | 4
43 | a) S& F 76.2 mm C.I plug bends (Calcutta/Nagpur make) | Each | 100
| b) - do - labour charges only | Each | 12
44 | a) S & F 76.2 mm CI plain beds (Calcutta/Nagpur make) | Each | 88
| b) - do - labour charges only | Each | 10
45 | a) S&F 76.2 mm C.I single junction with Plug ( Calcutta / Nagapur make) | Each | 135
| b) - do - labour charges only | Each | 17
46 | a) S&F 76.2 mm C.I double junction with Plug ( Calcutta / Nagapur make) | Each | 190
| b) - do - labour charges only | Each | 20
47 | a) Supplying & fixing 76.2 mm x 76.2 mm CI offsets (Calcutta/Nagpur make) | Each | 105
| b) - do - labour charges only | Each | 3
48 | a) Supplying & fixing 76.2 mm x 152.4 mm CI offsets (Calcutta/Nagpur make) | Each | 115
| b) - do - labour charges only | Each | 15
49 | Supply & fixing 101.6 mm dia CI floor traps Ist quality | Each | 187
50 | a)Boxing of Nahany traps in RCC floors | Each | 80
| b) - do - labour charges only | Each | 40
51 | Boxing of W.C Trap in R.C.C floor in Ist floor Labour charges only | Each | 160
52 | Cutting holes in C.C; basement & repairs Labour charges only | Each | 45
53 | Cuttinng holes in stone masonry & basement and repairs Labour charges only | Each | 30
54 | Cutting holes in Brick masonry & repairs Labour charges only | Each | 20
55 | Cutting holes in RCC slab floor & repairs Labour charges only | Each | 30
56 | a) S & F 584.2 mm long Indian pattern white glazed W.C and trap | Each | 460
| b) - do - labour charges only | Each | 110
57 | a) S& F 584.2 mm long Orissa pan of parry Neycer/H.S.W make with 'P' & 's' trap | Each | 772
| b) - do - labour charges only | Each | 138.2
58 | a) S & F porcelanin foot rest for I.W.C.(Rectangular pair) | Pair | 110
| b) - do - labour charges only | Pair | 25
59 | a) S &F low down porcelain flushing tank Hindustan Sanitary wae/ parry/ Neycer with internal components | Each | 1100
| b) - do - labour charges only | Each | 200
60 | a)S & F European type Hindustan / Neycer or parry W.C best Indian make white glazed (P trap) | Each | 550
| b) - do - labour charges only | Each | 100
61 | a) S & F European type Hindustan / Neycer or parry W.C best Indian make white glazed with 'S' trap | Each | 650
| b) - do - labour charges only | Each | 100
62 | a) S& F best Indian make plastic seat and lid for European water closets & Buffers as per IS 2548-1963 | Each | 220
| b) - do - labour charges only | Each | 30
63 | Supply, Installation and commissioning approved make EWC(suit) CASCADE model P' or S' trap with porcelin cistern fixed on EWC with all internal parts of cistern vis. White seat cover of aproved make with rubber buffer and cap 15 mm angle stop cock 450 mm long PVC inter connection pipe wall flanges all of approved make etc. complete for finished item of work in all respects
| a) white | Each | 4435
| b) Extra for colour | Each | 1805
| c) Extra for spl. Colour | Each | 3610
64 | a) Supplying & Fixing 12.7 mm PVC connection with brass union nut C.P coated | Each | 50
| b) - do - labour charges only | Each | 10
65 | a) S & F 12.7 mm NP stop cock Indian make 300 grams | Each | 92
| b) - do - labour charges only | Each | 12
66 | a) S & F concealed stop cock 12.7 mm (1/2") | Each | 135
| b) - do - labour charges only | Each | 13.8
67 | a) S & F angle stop cock 12.7 mm dia first quality | Each | 96
| b) - do - labour charges only | Each | 13.8
68 | a) S&F 12.7 mm N.P bib tap Indian make 300 grams | Each | 92
| b) - do - labour charges only | Each | 12
69 | a) S&F 12.7mm N.P bib tap Indian make 250 grams | Each | 78
| b) - do - labour charges only | Each | 10
70 | a)S & F 31.75 mm brass plumber Union best Indian first quality | Each | 25
| b) - do - labour charges only | Each | 5
71 | a) S & F 12.7 mm brass stop cock Indian make 400 grams | Each | 80
| b) - do - labour charges only | Each | 10
72 | a) S & F 12.7 mm brass stop cock Indian make 300 grams | Each | 75
| b) - do - labour charges only | Each | 10
73 | a) S & F 12.7 mm brass bib cock Indian make 400 grams | Each | 88
| b) - do - labour charges only | Each | 10
74 | a) S & F 12.7 mm brass bib cock Indian make 300 grams | Each | 75
| b) - do - labour charges only | Each | 11
75 | S & F CP long body bib cock fancy type delux 300 grames dia 12.7 mm | Each | 156
76 | S & F 12.7mm dia high neck piller cock Ist quality Indian make 400 grams | Each | 249.6
77 | a) S & F 12.7 mm .M.P couplings | Each | 18
| b) - do - labour charges only | Each | 5
78 | a) S & F 19.05 mm M.P couplings | Each | 20
| b) - do - labour charges only | Each | 5
79 | a) S& F MP coupling 25.4 mm dia | Each | 48
80 | a) S & F PVC Rubber adopter for LLC and bend | Each | 10
| b) - do - labour charges only | Each | 3
81 | a) S& F 31.75 mm Brass union nuts | Each | 18
| b) - do - labour charges only | Each | 3
82 | a) S& F 38.1 mm Brass union nuts | Each | 19
| b) - do - labour charges only | Each | 4
83 | S& F GI union 12.7 mm Ist Quality | Each | 19.2
84 | S& F GI union 19.05 mm Ist Quality | Each | 24
85 | S& F GI union 25.4 mm Ist Quality | Each | 36
86 | S& F GI union 31.75 mm Ist Quality | Each | 45
87 | S& F GI union 38.1 mm Ist Quality | Each | 54
88 | S& F GI union 50.8 mm Ist Quality | Each | 66
89 | S& F GI connector 25.4 mm dia | Each | 40
90 | S& F 12.7 m GI 'T' A class Ist quality | Each | 25
91 | S& F 31.75 mm dia GI bend Ist quality | Each | 36
92 | S & F 31.75 mm dia GI 'T' 1st Quality | Each | 35.2
93 | a) Supplying & Fixing solder joints upto 50.8 mm dia | Each | 31
| b) - do - labour charges only | Each | 10
94 | a) Supplying & Fixing solution joints upto 50.8 dia Ist quality. | Each | 6.2
| b) - do - labour charges only | Each | 1.2
95 | a)S & F 558.8 mm x 406.4 mm Indian make wash hand basins (HSW/Parry/Earthenware) with 12.70 mm double N.P 400 grams piller taps wast plug chain complete with CI brackets including wooden block | Each | 550
| b) - do - labour charges only | Each | 140
96 | a) S& F pedestal (H.S.W / Parry/ Earthenware) | Each | 540
| b) - do - labour charges only | Each | 50
97 | a) S & F 31.75 mm C.P bottle trap (Heavy type) | Each | 150
| b) - do - labour charges only | Each | 20
98 | a) S & F 31.75 mm C.P TRAPS | Each | 150
| b) - do - labour charges only | Each | 20
99 | a) S & F 12.7 mm NP elbow action bib cock 600 gms | Each | 230
| b) - do - labour charges only | Each | 17.3
100 | a) S&F 12.7 m NP elbow action pillar cock 600 gms | Each | 192.2
| b) - do - labour charges only | Each | 15
101 | S&F 12.7 mm dia NP pillar cock Ist quality | Each | 93.5
102 | S&F 12.7 mm dia NP push cock Ist quality | Each | 100
103 | S&F 12.7 mm dia NP lift cock Ist quality | Each | 80
104 | a)S & F 38.1 mm C.P waste coupling | Each | 46
| b) - do - labour charges only | Each | 12
105 | a) S & F 31.75 mm PVC bottle trap | Each | 65
| b) - do - labour charges only | Each | 10
106 | a) S& F 38.1 mm brass plumber union | Each | 33.4
| b) - do - labour charges only | Each | 5
107 | a) S & F white glazed flat back urinals with screws complete Indian make (TWYFORT)(Parry/Neycer) | Each | 350
| b) - do - labour charges only | Each | 55
108 | a)S & F 19.05 mm NP stop cock Indian make with ISI mark 400 grams | Each | 130
| b) - do - labour charges only | Each | 10
109 | Chiselling the stone masonry wall for fixing of wooden blocks including finishing as directed by the department | Each | 15
110 | Chiselling the stone masonry wall and repairs as directed by the department. | 1 Rm | 70
111 | Chiselling the brick masonry wall and repairs as directed by the department. | 1 Rm | 15
112 | a) S & F NP telephonic shower spray set & valve mixer with rest and all fittings complete (ARK/ESSCO make) | Each | 750
| b) - do - labour charges only | Each | 180
113 | a) S & F NP shower spray fancy with NP Flexible pipe | Each | 250
| b) - do - labour charges only | Each | 60
114 | a) S & F NP cover for nahany trap | Each | 16
| b) - do - labour charges only | Each | 8
115 | a) Painting the flushing tank with white enamel paint | Each | 55
| b) - do - labour charges only | Each | 28
116 | S & F internal fittings for flush tank | Each | 300
117 | Repairing and over hauling flushing tank | Each | 40
118 | a) Supplying & Fixing NP chain rubber and plugh for baisn | Each | 20
| b) - do - labour charges only | Each | 3
119 | a) S & F 609.6 x 457.2 x 254 mm Indian make white glazed sink on cantilever brackets with 2 NP couplings, plug and chain complete | Each | 1850
| b) - do - labour charges only | Each | 150
120 | a) S & F 762.00 x 457.2 x 228.6 mm Indian make white glazed sink on cantilever brackets with 2 NP couplings, plug and chain complete | Each | 2200
| b) - do - labour charges only | Each | 150
121 | a) S & F 609.6 x 457.2 x 254 mm RCC terrazo finished sink (or constructed at site with 50.8mm thick) brass plug and chain incluidng CI cantilever brackets | Each | 300
| b) - do - labour charges only | Each | 100
122 | a) S & F 25.4 mm dia & 609.6 mm long aluminium anodized towel rod with brackets and aluminium screws | Each | 75
| b) - do - labour charges only | Each | 20
123 | a) S & F 19.04 mm dia & 609.6 mm long aluminium anodized towel rod with brackets and aluminium screws | Each | 65
| b) - do - labour charges only | Each | 30
124 | a) S & F 609.6 mm long 127 mm wide plate glass shelf with superior quality aluminium railing complete with aluminium screws | Each | 95
| b) - do - labour charges only | Each | 25
125 | a) S & F 609.6 mm long 127 mm wide plate glass shelf only | Each | 30
| b) - do - labour charges only | Each | 5
126 | a) S & F NP soap dish heavy type with NP SCREWS | Each | 120
| b) - do - labour charges only | Each | 5.5
127 | a) S &F NP holder brackets with screws | Each | 25
| b) - do - labour charges only | Each | 6
128 | a) S & F liquid soap container NP metalic with NP brackets and screws. | Each | 110
| b) - do - labour charges only | Each | 10
129 | a) Constructing R.C.C over head tank with partition complete | 1 Lt | 3.5
| b) - do - labour charges only | 1 Lt | 0.8
130 | a) Constructing R.C.C over head tank with out partition complete | 1 Lt | 3
| b) - do - labour charges only | 1 Lt | 0.75
131 | a) S & F 25.4 mm copper ball cock ith PVC ball Indian make ISI mark | Each | 190
| b) - do - labour charges only | Each | 20
132 | a) S & F 19.05 mm copper ball cock ith PVC ball Indian make ISI mark | Each | 155
| b) - do - labour charges only | Each | 20
133 | a)S & F 12.7 mm copper ball cock ith PVC ball Indian make ISI mark | Each | 100
| b) - do - labour charges only | Each | 20
134 | a) S & F 25.4 mm GM peet valve Indian make heavy type | Each | 210
| b) - do - labour charges only | Each | 20
135 | a) S & F 19.05 mm GM peet valve Indian make heavy type | Each | 162
| b) - do - labour charges only | Each | 20
136 | a) S & F 12.7 mm GM peet valve Indian make heavy type | Each | 125
| b) - do - labour charges only | Each | 20
137 | a) S & F 31.75 mm GM peet valve Indian make heavy type Ist quality | Each | 315.8
138 | a) S & F 38.1 mm GM peet valve Indian make heavy type Ist quality | Each | 496
| b) - do - labour charges only | Each | 30
139 | a)S & F 50.8 mm dia GM peet valve Ist quality | Each | 640
| b) - do - labour charges only | Each | 40
140 | a)S & F 63.5 mm dia GM peet valve Ist quality | Each | 1208
| b) - do - labour charges only | Each | 50
141 | a)S & F 76.2 mm dia GM peet valve Ist quality | Each | 1771
| b) - do - labour charges only | Each | 60
142 | a) S& F 12.7 mm GI pipe 'A' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 65
| b) - do - labour charges only | 1 RM | 18
143 | a) S& F 19.05 mm GI pipe 'A' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 70
| b) - do - labour charges only | 1 RM | 18
144 | a) S& F 25.4 mm GI pipe 'A' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 110
| b) - do - labour charges only | 1 RM | 18
145 | a) S& F 38.1 mm GI pipe 'A' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 150
| b) - do - labour charges only | 1 RM | 20
146 | a) S& F 50.8 mm GI pipe 'A' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 185
| b) - do - labour charges only | 1 RM | 30
147 | a) S& F 12.7 mm GI pipe 'B' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 80
| b) - do - labour charges only | 1 RM | 18
148 | a) S& F 19.05 mm GI pipe 'B' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 85
| b) - do - labour charges only | 1 RM | 18
149 | a) S& F 25.4 mm GI pipe 'B' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 125
| b) - do - labour charges only | 1 RM | 18
150 | a) S& F 38.1 mm GI pipe 'B' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 175
| b) - do - labour charges only | 1 RM | 20
151 | a) S& F 50.8 mm GI pipe 'B' class ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | 1 RM | 225
| b) - do - labour charges only | 1 RM | 30
152 | a) S& F 31.75 mm GI pipe 'B' class ISI mark with GI fittings including the cost & conveyance of all labour charges complete | 1 RM | 140
153 | S & F 63.5 mm dia GI pipe 'B' class with GI fittings such as elbows tees couplings, nipples, plugs including excavation for trenches and refilling the trenches complete except for GI bends union and GI connectors with checknut and socket Tata or Zenith make. | 1 RM | 234
154 | a)S & F 12.7 mm holder bat clamps | Each | 6
| b) - do - labour charges only | Each | 3
155 | a)S & F 19.05 mm holder bat clamps | Each | 10
| b) - do - labour charges only | Each | 3
156 | a)S & F 25.4 mm holder bat clamps | Each | 12
| b) - do - labour charges only | Each | 3
157 | a)S & F 38.1 mm holder bat clamps | Each | 15
| b) - do - labour charges only | Each | 4
158 | a) Constructing Brick masonry chamber over the gully trap or peet valve and fitted with 304.8 x 228.6 m size CI frame and hinged cover. | Each | 180
| b) - do - labour charges only | Each | 45
159 | a)Constructing Brick mlasonry supprt for G.I pipe with C.M 304.8 x 228.6 x228.6 mm size including plastering and finishing etc. complete. | Each | 30
| b) - do - labour charges only | Each | 10
160 | a) S & F 12.7 x 152.0 mm NP shower rose heavy | Each | 75
| b) - do - labour charges only | Each | 9
161 | a) S & F 12.7 x 137.0 mm NP shower rose heavy | Each | 75
| b) - do - labour charges only | Each | 10
162 | a) S & F 12.7 x 101.6 mm NP shower rose heavy | Each | 65
| b) - do - labour charges only | Each | 10
163 | a) S & F 12.7 x 88.9 CP fancy shower | Each | 120
| b) - do - labour charges only | Each | 10
164 | a) Supplying & fixing 12.7 mm GI drain pipe with plug for tanks (Mudvalve) including making a hole | Each | 20
| b) - do - labour charges only | Each | 10
165 | a) Supplying & fixing 19.05 mm GI drain pipe with plug for tanks (Mud valve) including making a hole | Each | 30
| b) - do - labour charges only | Each | 10
166 | a) Supplying & fixing 25.4 mm GI drain pipe with plug for tanks (Mud valve) including making a hole | Each | 35
| b) - do - labour charges only | Each | 12
167 | a) Taking branch water connection from the existing 25.4 mm GI pipe including cutting threading, etc, complete with fitting, | Each | 70
| b) - do - labour charges only | Each | 20
168 | a) Taking branch water connection from the existing 19.05 mm GI pipe including cutting threading, etc, complete with fitting, | Each | 40
| b) - do - labour charges only | Each | 18
169 | a) Taking branch water connection from the existing 12.7 mm GI pipe including cutting threading, etc, complete with fitting, | Each | 30
| b) - do - labour charges only | Each | 15
170 | Supplying & fixing leather washers for 12.7 mm bib tap and stop cock | Each | 1
171 | Supplying & fixing leather washers for 19.05 mm bib tap and stop cock | Each | 2
172 | Supplying & Fixing 12.7 mm fibre washers | Each | 2
173 | Supplying & Fixing 19.05 mm fibre washers | Each | 2.5
174 | a) Supplying & fixing 304.8 x 228.6 mm CI frame & cover over gully taps | Each | 60
| b) - do - labour charges only | Each | 16
175 | a) Supplying & fixing CI Nahany trap grating | Each | 10
| b) - do - labour charges only | Each | 5
176 | a) Supplying & fixing CI gully trap grating | Each | 25
| b) - do - labour charges only | Each | 5
177 | a) Supplying & fixing valves for brass ball cocks 25.4 mm dia | Each | 10
| b) - do - labour charges only | Each | 4
178 | a) Supplying & fixing 12.7 m valve for bib tap or stop cocks | Each | 9.15
| b) - do - labour charges only | Each | 2.5
179 | a) Supplying & fixing 19.05 m valve for bib tap or stop cocks | Each | 15
| b) - do - labour charges only | Each | 3
180 | Removing 12.7 mm GI pipe and refixing the same | Rm | 26
181 | Removing 19.05 mm GI pipe and refixing the same | Rm | 30
182 | Removing 25.4 mm GI pipe and refixing the same | Rm | 44
183 | Removing 38.1 mm GI pipe and refixing the same | Rm | 55
184 | Removing 50.8 mm GI pipe and refixing the same | Rm | 65
185 | Cleaning the W.C with acid and Vim powder | Each | 15
186 | Cleaning the Urinal with acid and Vim power | Each | 15
187 | Cleaning the wash basin with acid and Vim power | Each | 15
188 | Cleaning the E.W.C with acid and Vim power | Each | 15
189 | a) Supplying & fixing 914.4 x 457.2 mm CI man hole frame and cover (light weight) | Each | 420
| b) - do - labour charges only | Each | 40
190 | a)Supplying & fixingg CI steps for septic tank. | Each | 25
| b) - do - labour charges only | Each | 5
191 | a) Supplying & fixing 50.8 cm dia man hole frame & cover for 914.4 mm dia chamebr (Light weight) | Each | 325
| b) - do - labour charges only | Each | 30
192 | a) Supplying & fixing 50.8 cm dia man hole frame & cover for 914.4 mm dia chamebr (Medium weight) | Each | 600
| b) - do - labour charges only | Each | 65
193 | a) Supplying & fixing 101.6 x 101.6 mm SWG Tee | Each | 45
| b) - do - labour charges only | Each | 11
194 | a) S & F SWG pipe 101.6 mm of Ist Class with cement joints | 1 RM | 46
| b) - do - labour charges only | 1 RM | 5
195 | a) Supplying & Fixing SWG pipe 152.4 mm of Ist Class with cement joints | 1 RM | 60
| b) - do - labour charges only | 1 RM | 10
196 | Constg. 50.8 mm thick RCM baffle wall with 2.267 Kg steel & rabbit wire mesh in CM 1:3 with fine rendering in neat cement | 1 Sqm | 105
197 | a) Constg. 50.8 mm RCC partition wall | 1 Sqm | 120
| b) - do - labour charges only | 1 Sqm | 20
198 | a) S & F double layer of bamboo matting tarred on both sides. | 10 Sqm | 300
| b) - do - labour charges only | 10 Sqm | 50
199 | Removing of 101.6 m or 76.2 mm CI pipe | 1 RM | 15
200 | a) Supplying & fixing 76.2 mm W.I clamps | Each | 8
| b) - do - labour charges only | Each | 3
201 | Extra depth of inspection chamber of 914.4 mm diameter excluding rock cutting. | 1 Rm | 600
202 | Extra depth of inspection chamber of 914.4 x 457.2mm diameter excluding rock cutting. | 1 Rm | 600
203 | a) Supplying & fixing NP coat hook | Each | 20
| b) - do - labour charges only | Each | 5
204 | Supplying & fixing small precast RCC water tanks including cover over the roof of building | 1 Lit | 3
205 | Labour charges for lay8ing glazed tiles | 1 Sqm | 50
206 | a) Providing & Placing on Terrace ( at all floor levels) polyetheylene water storage tank with Double layer approved brand & manufacture with cover and suitable locking arrangement & making necessary holes for inlet & outlets and over flow pipes but without fittings & base support for tanks | 1 Lit | 4.1
| b) - do - labour charges only | 1 Lit | 0.3
207 | Supply of Plastic storage tank lid with hinges | Each | 45
208 | Supply & Fixing 76.2 mm dia PVC elbow Ist quality | Each | 26
209 | Supply & fixing 31.75 mm dia PVC flexible waste pipe of 914.4 mm length of Ist quality | Each | 15
210 | Supply & Fixing 38.1 mm dia PVC solid waste pipe outlet | Each | 50
211 | Supply & fixing Fancy PVC shelf including all fittings | Each | 120
212 | a) Supplying and fixing TV shape mirror with plastic frame size 609.6 mm x 457 .2 mm | Each | 251.9
| b) - do - labour charges only | Each | 51.8
213 | a) Supplying & fixing GI pipe plug of size 12.7 mm dia | Each | 2.5
| b) - do - labour charges only | Each | 0.5
214 | a) Supplying & fixing 19.06 mm dia GI plug | Each | 3
| b) - do - labour charges only | Each | 0.5
215 | a) Supplyng and fixing 38.1 mm dia of GI plug | Each | 11
| b) - do - labour charges only | Each | 3
216 | a) Supplying & fixing 50.8 mm dia of GI PLUG | Each | 25
| b) - do - labour charges only | Each | 5
217 | a) Supplying & fixing 76.2 mm dia of GI PLUG | Each | 35
| b) - do - labour charges only | Each | 8
218 | a) Supplyng & fixing 19.05 mm non return valve | Each | 170
| b) - do - labour charges only | Each | 25
219 | a) Supplying & fixing25.4 mm dia non return valve | Each | 227
| b) - do - labour charges only | Each | 30
220 | a) Supplying & fixing 38.1 m dia non return valve | Each | 405
| b) - do - labour charges only | Each | 50
221 | a) Supplying & fixing 50.8 mm dia non return valve | Each | 580
| b) - do - labour charges only | Each | 50
222 | a) Supplying & fixing C.P flange. | Each | 8
| b) - do - labour charges only | Each | 3
223 | a) Supplying & fixing stainless steel sink size 36" x 18 " (914.4x457.2mm) 1 mm thick with accessories | Each | 3200
| b) - do - labour charges only | Each | 150
224 | a) Supplying & fixing stainless steel sink size 24" x18" x 8 " (609.6x457.2x203.2mm) 1 mm thick with accessories | Each | 2650
| b) - do - labour charges only | Each | 150
225 | a) Supplying & fixing stainless steel sink size 20" x18" x 8 " (508x457.2x203.2mm) 1 mm thick with accessories | Each | 2400
| b) - do - labour charges only | Each | 150
226 | Supplying & fixing 4 " x 24 " (101.6x609.6mm) white glazed porcelain channel fixed in brick masonrywhite cement pointing. | Each | 228
227 | Supply & Fixing of steel surgical long elbow action handle 12.7 mm dia bib cock indian make heavy type including all materials | Each | 460
228 | Supply & fixing 2 1/2" (63.5mm) dia Sluice valve ISI mark with 2 Nos. flanges, 8 nos, 3/4" dia nuts & bolts and all necessary washers and packing materials etc. complete | Each | 2718
229 | Supply & fixing porcelain P' trap | Each | 120
230 | Supplying & fixing oval shape basin white(520x410mm) parry or equalivalent | Each | 1180
231 | Supply & fixing RCC cover 22" dia with nominal reinforcement 3 " thick and hooks for lifting | Each | 400
232 | Supply & fixing cp spl. Grating with frame and cover of Ist quality | Each | 28.5
233 | Supply & fixing towel rod (CP) of 24" long and 3/4 " dia | Each | 186
234 | Supply & fixing of LLC handle set Ist quality | Each | 40
235 | Supply & fixing 4" dia CP thimble pipe
| a) 150 mm long | Each | 200
| b) 220 mm long | Each | 300
| c) 300 mm long | Each | 400
236 | Supply & fixing CP long bend | Each | 162.5
237 | Supply & fixing CP short bend | Each | 81
238 | Supply & fixing of PVC low level system parryware, slimline with internal components & short bend.
| a) 10 Ltrs capacity white | Each | 550
| b) 10 ltrs capacity colour | Each | 610
| c) 8 lts capacity tuffmate white & colour | Each | 370
239 | Supplying & fixng bib cock with flange C.P jaquar make queen series. | Each | 683.6
240 | Supply & fixing bib cock cum health faucet with 1 m long flexible tube and wall hook of jaquar make queen series
| a ) Chrome plated | Each | 1945.3
| b) Ivory gold | Each | 3349.5
241 | Supply & fixing pillar cock jaquar make Queen series
| a ) Chrome plated | Each | 712
| b) Ivory gold | Each | 1247
242 | Supply & fixing Angular stop cokc with wall flange jaquar make Queen series
| a ) Chrome plated | Each | 657.5
| b) Ivory gold | Each | 1217
243 | Supply & fixing Waste coupling jaquar make
| a ) Chrome plated | Each | 122.4
| b) Ivory gold | Each | 134.2
244 | Supply & fixng of Bottle trap jaquar make
| a ) Chrome plated | Each | 459
| b) Ivory gold | Each | 934
245 | Supply & Fixing copper pipe 450 mm long with nuts & washers Jaquar make
| a ) Chrome plated | Each | 139.3
| b) Ivory gold | Each | 247
246 | Supplying and fixing wall mirror with provision for ove head shower and 115 mm long bend pipe with wall flange jaquar make queen series
| a ) Chrome plated | Each | 2251
| b) Ivory gold | Each | 4178.5
247 | Supply & fixing overhead shower rose with revolving joint and 150 mm long swivel shower arem Jaquar make qureen sseries.
| a) Chrome plated | Each | 881
| b) Ivory Gold | Each | 1556.9
248 | Supply and Fixing Wall Mixer with Telephonic shower arrangement with crutch and flexible pipe Jaquar series Ivory gold colour for bath tub. | Each | 4111.2
249 | Suply & fixing Bath tub overflow set complete with over flow cap, 450 mm Ball chain with rubber plug & union bend with brass nut jaquar make, Ivory gold colour. | Each | 704.5
250 | Supply & fixing sink cock with regular swinging spout with wall flange chromeplated Jaquar make Queen series | Each | 985.9
251 | Supply & fixing soap dish jaquar make queen series:
| a) Chrome plated | Each | 567.7
| b) Ivory Gold | Each | 905.7
252 | Supply & fixng of toilet paper holder Jaquar make Queen series.
| a) Chrome plated | Each | 461.3
| b) Ivory Gold | Each | 730.4
253 | Supply & Fixing of Towel ring Jaquar make Queen series
| a) Chrome plated | Each | 475.6
| b) Ivory Gold | Each | 690
254 | Supply & Fixing of towel coat hok Jaquar make Queen series
| a) Chrome plated | Each | 323.3
| b) Ivory Gold | Each | 512.5
255 | Supply & Fixing of Towel rod 24 " Jaquar make Queen series Ivory gold colour | Each | 2491
256 | Supply & Fixing of Tumbler holder Jaquar make Queen series, Ivory gtold colour | Each | 797.7
257 | Supply & fixing of Glass shelf 22" Jaquar make Queen series, Ivory gold colour | Each | 1528.1
PRINCE/SUDHAKAR PVC/SWR PIPES & FITTINGS (OR EQUIVALENT)
Prince/ Sudhakar make or equivalent quality PVC /SWR pipes & fittings ( asper ISI standards) 4kg/cm2
258 | 75 mm dia 3 M Single Socket pipe | Each | 144.3
259 | 90 mm dia 3 M single socket pipe | Each | 229.4
260 | 110 mm dia 3 M Single socket pipe | Each | 274.3
261 | 75 mm dia 3 M Double socket pipe | Each | 163.2
262 | 90 mm dia 3 M Double socket pipe | Each | 260.3
263 | 110 mm dia 3 M Double socket pipe | Each | 317.6
264 | 75 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 101.1
265 | 90 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 157.3
266 | 110 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 194.4
267 | 75 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 107.9
268 | 90 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 165.8
269 | 110 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 202.2
270 | 75 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 74.7
271 | 90 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 114.1
272 | 110 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 137.8
273 | 75 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 62.8
274 | 90 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 92.7
275 | 110 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 118.8
276 | 75 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 37.3
277 | 90 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 63.7
278 | 110 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 79.3
279 | 160 MM dia 3 M Double socket pipe | Each | 652
Prince/ Sudhakar make or equivalent quality PVC /SWR pipes & fittings ( asper ISI standards) 6kg/cm2
280 | 75 mm dia 3 M Single Socket pipe | Each | 244.8
281 | 90 mm dia 3 M single socket pipe | Each | 393.6
282 | 110 mm dia 3 M Single socket pipe | Each | 468.5
283 | 75 mm dia 3 M Double socket pipe | Each | 267.2
284 | 90 mm dia 3 M Double socket pipe | Each | 424.2
285 | 110 mm dia 3 M Double socket pipe | Each | 517.4
286 | 75 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 160.3
287 | 90 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 249.7
288 | 110 mm dia 1828.8 mm (6'-0") Single Socket pipe | Each | 296.8
289 | 75 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 171
290 | 90 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 259.7
291 | 110 mm dia 1828.8 mm (6'-0") Double Socket pipe | Each | 320.8
292 | 75 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 116
293 | 90 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 179.7
294 | 110 mm dia 1219. mm (4'-0") Double Socket pipe | Each | 218.7
295 | 75 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 99.8
296 | 90 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 146.2
297 | 110 mm dia 914.4mm (3'-0") Double Socket pipe | Each | 177.2
298 | 75 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 64.4
299 | 90 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 100.5
300 | 110 mm dia 609.6mm (2'-0") Double Socket pipe | Each | 127.7
301 | 160 mm dia 3 M Double socket pipe | Each | 1066.4
Prince/ Sudhakar make or equivalent quality U.V resistant UPVC) SWR pipe fittings ( as per ISI standards )
Plain Bend 87.5 degrees.
302 | 75 mm dia | Each | 27.7
303 | 90 mm dia | Each | 40
304 | 110 mm dia | Each | 46.6
Door Bend 87.5 degrees.
305 | 75 mm dia | Each | 37.8
306 | 90 mm dia | Each | 53.5
307 | 110 mm dia | Each | 59.8
45 degree Bend
308 | 75 mm dia | Each | 21.5
309 | 90 mm dia | Each | 31
310 | 110 mm dia | Each | 39.9
Cleaning Pipe
311 | 75 mm dia | Each | 37.75
312 | 90 mm dia | Each | 55
313 | 110 mm dia | Each | 66.8
Single Tee
314 | 75 mm dia | Each | 33.5
315 | 90 mm dia | Each | 50.2
316 | 110 mm dia | Each | 60.9
Single Tee (With Door)
317 | 75 mm dia | Each | 40.3
318 | 90 mm dia | Each | 60.75
319 | 110 mm dia | Each | 73.4
Doube Tee
320 | 75 mm dia | Each | 70.9
321 | 90 mm dia | Each | 103.2
322 | 110 mm dia | Each | 146.2
Doube Tee (With Door)
323 | 75 mm dia | Each | 112.5
324 | 90 mm dia | Each | 161.2
325 | 110 mm dia | Each | 166.8
Single ' Y'
326 | 75 mm dia | Each | 41.5
327 | 90 mm dia | Each | 67
328 | 110 mm dia | Each | 77.2
Single ' Y' (With Door)
329 | 75 mm dia | Each | 53
330 | 90 mm dia | Each | 83.2
331 | 110 mm dia | Each | 97.2
Double ' Y'
332 | 75 mm dia | Each | 57.9
333 | 90 mm dia | Each | 89.5
334 | 110 mm dia | Each | 101.6
Double ' Y' (With Door )
335 | 75 mm dia | Each | 74.6
36 | 90 mm dia | Each | 116.3
337 | 110 mm dia | Each | 130.7
Coupler
338 | 75 mm dia | Each | 20.4
339 | 90 mm dia | Each | 28.8
340 | 110 mm dia | Each | 32.4
Reducer
341 | 90 x 75 mm dia | Each | 33.8
342 | 110 x 75 mm dia | Each | 32.5
343 | 90 x 110 mm dia | Each | 45
Vent Cowl
344 | 63 mm dia | Each | 5.5
345 | 75 mm dia | Each | 7.3
346 | 90 mm dia | Each | 9.4
347 | 110 mm dia | Each | 10.25
Pipe Clip
348 | 40 mm dia | Each | 6.5
349 | 50 mm dia | Each | 7.2
350 | 63 mm dia | Each | 7.2
351 | 75 mm dia | Each | 8.2
352 | 90 mm dia | Each | 9.1
353 | 110 mm | Each | 10.1
354 | 160 mm dia | Each | 20.2
P Trap
355 | P' Trap ( Small without Airvent ) 110 mm | Each | 107
356 | P' Trap ( Small with Airvent ) 110 mm | Each | 117.5
357 | P' Trap (Big with Airvent ) 110 mm | Each | 134.6
358 | P' Trap ( Big without Airvent ) 110 mm | Each | 123.8
359 | Floor Trap (Bell Mouth ) 110 mm | Each | 127.4
360 | Bell Mouth Trap 7 " ( 177.8 mm) | Each | 187.2
361 | 4" (101.6 mm ) Nahani Trap ( Without Jali with inlet) | Each | 64
362 | 3" (76.2 mm ) Nahani Trap ( without Jali without inlet) | Each | 49.3
363 | 4" (101.6 mm ) Nahani Trap ( without inlet with out Jali) | Each | 60.5
364 | Mini Trap | Each | 30.2
365 | 3" (76.2 mm ) nahani Trap with Jali | Each | 58.1
366 | 4" (101.6 mm ) multi floor trap with jali | Each | 81.5
367 | 4" (101.6) multi floor trap with out jali | Each | 63.7
368 | Round Jali | Each | 13.6
369 | Square tile & jali | Each | 21.7
370 | Pipe connector ( with LIP ring) | Each | 85.2
371 | Pipe connector ( with out LIP ring) | Each | 66.2
Floor Traps
372 | 4" (101.6 mm ) Floor Trap | Each | 78
373 | 5" (127.mm ) floor Trap | Each | 83.9
Door cap
374 | 75 mm dia | Each | 32.2
375 | 90 mm dia | Each | 35.7
376 | 110 mm dia | Each | 41
Socket Plug
377 | 75 mm dia | Each | 29.9
378 | 90 mm dia | Each | 34.5
379 | 110 mm dia | Each | 35.7
Rubber Ring for socket
380 | 75 mm dia | Each | 4.4
381 | 90 mm dia | Each | 5.5
382 | 110 mm dia | Each | 6.5
Door Socket
383 | 75 mm dia | Each | 5.2
384 | 90 mm dia | Each | 6.5
385 | 110 mm dia | Each | 7.2
386 | LIP ring 110 mm | Each | 39
Rubber Lubricant
387 | 100 Grams | Each | 16.7
388 | 250 Grams | Each | 36.7
389 | 500 Grams | Each | 66.8
390 | 1000 Grams | Each | 123.6
391 | P' Trap with lip Ring | Each | 169
Solvent Cement
392 | 50 ml | Each | 8.5
393 | 100 ml | Each | 14.6
394 | 250 ml | Each | 34
395 | 500 ml | Each | 65.3
396 | 1000 ml | Each | 127.4
Internal Reducer.
397 | 110mm x 90 mm | Each | 50.7
398 | 160 mm x 110 mm | Each | 126.7
CENTIFUGAL CAST IRON PIPES & FITTNGS AS PER IS : 3989 - 1984
Note : Sales Tax and Excise duties extra
CI (spun) soils Waste & Ventilating pipe (3 M)
399 | 75 mm dia | Each | 630
400 | 100 mm dia | Each | 840
401 | 150 mm dia | Each | 1540
CI (spun) soils Waste & Ventilating pipe (3 M) Double socket
402 | 75 mm dia | Each | 700
403 | 100 mm dia | Each | 945
9 feet (2743.2 mm ) pipes
404 | 75 mm dia | Each | 568
405 | 100 mm dia | Each | 757
8 feet (2438.4) mm ) pipes
406 | 75 mm dia | Each | 507
407 | 100 mm dia | Each | 675
6 feet (1828.8 mm ) pipes
408 | 75 mm dia | Each | 413
409 | 100 mm dia | Each | 539
6 feet (1828.8 mm ) pipes Double socket
410 | 75 mm dia | Each | 434
411 | 100 mm dia | Each | 539
Cut pipes (pieces) 1 foot (304.8 mm)
412 | 75 mm dia | Each | 98
413 | 100 mm dia | Each | 105
Cut pipes (pieces) 1'.6" (457.2 mm )
414 | 75 mm dia | Each | 133
415 | 100 mm dia | Each | 154
416 | 150 mm dia | Each | 293
Cut pipes (pieces ) 2 feet (609.6 mm)
417 | 75 mm dia | Each | 182
418 | 100 mm dia | Each | 203
419 | 150 mm dia | Each | 365
Cut pipes (pieces ) 3 feet (914.4 mm)
420 | 75 mm dia | Each | 231
421 | 100 mm dia | Each | 280
Cut pipes (pieces ) 4 feet (1219.2 mm)
422 | 75 mm dia | Each | 259
423 | 100 mm dia | Each | 364
Plain Bend
424 | 75 mm dia | Each | 83
425 | 100 mm dia | Each | 109
426 | 150 mm dia | Each | 238
Door Bend
427 | 75 mm dia | Each | 97
428 | 100 mm dia | Each | 126
429 | 150 mm dia | Each | 263
Plain Bend 45 degrees.
430 | 75 mm dia | Each | 84
431 | 100 mm dia | Each | 98
432 | 150 mm dia | Each | 210
Door Bend 45 degrees.
433 | 75 mm dia | Each | 95
434 | 100 mm dia | Each | 112
435 | 150 mm dia | Each | 221
436 | Horn Bend Plain 101.6 x 50.8 mm (4" x 2") 100 mm dia | Each | 191
437 | Horn Bend door 101.6 x 50.8 mm (4" x 2") 100 mm dia | Each | 221
Heel Rest Bend
438 | 75 mm dia | Each | 98
439 | 100 mm dia | Each | 126
440 | 150 mm dia | Each | 263
Single Branch Plain "T"
441 | 75 mm dia | Each | 124
442 | 100 mm dia | Each | 165
443 | 150 mm dia | Each | 343
Single Branch Door "T"
444 | 75 mm dia | Each | 140
445 | 100 mm dia | Each | 186
446 | 150 mm dia | Each | 371
447 | Single Branch plain "Y"
448 | 75 mm dia | Each | 140
449 | 100 mm dia | Each | 189
450 | 150 mm dia | Each | 424
Single Branch Door "Y"
451 | 75 mm dia | Each | 154
452 | 100 mm dia | Each | 210
453 | 150 mm dia | Each | 448
Double Branch Plain "T"
454 | 75 mm dia | Each | 165
455 | 100 mm dia | Each | 224
Double Branch Door "T"
456 | 75 mm dia | Each | 186
457 | 100 mm dia | Each | 231
Double Branch Plain " Y"
458 | 75 mm dia | Each | 186
459 | 100 mm dia | Each | 249
Double Branch Door " Y"
460 | 75 mm dia | Each | 196
461 | 100 mm dia | Each | 270
Shoe bend
462 | 75 mm dia | Each | 81
463 | 100 mm dia | Each | 98
464 | 150 mm dia | Each | 210
Collar
465 | 75 mm dia | Each | 81
466 | 100 mm dia | Each | 98
467 | 150 mm dia | Each | 193
Cowel
468 | 75 mm dia | Each | 67
469 | 100 mm dia | Each | 78
470 | 150 mm dia | Each | 175
Offset 3" (76.2 mm ) projection
471 | 75 mm dia | Each | 95
472 | 100 mm dia | Each | 125
473 | 150 mm dia | Each | 253
Offset 6" (152.4mm ) projection
474 | 75 mm dia | Each | 106
475 | 100 mm dia | Each | 139
476 | 150 mm dia | Each | 287
Long Door Bend
477 | 75 mm dia | Each | 238
478 | 100 mm dia | Each | 256
Hand Hole pipe ( Inspection pipe)
479 | 75 mm dia | Each | 137
480 | 100 mm dia | Each | 186
481 | 150 mm dia | Each | 243
P Traps
482 | 75 mm dia | Each | 147
483 | 100 mm dia | Each | 203
484 | 4" x 3" (101.6 mm x 76.2mm ) P. Traps 100 mm dia | Each | 210
485 | 4" x 3" (101.6 mm x 76.2mm ) Vent Traps 100 mm dia | Each | 210
486 | 4" x 3" (101.6 mm x 76.2mm ) Reducer 75 mm dia | Each | 140
487 | 6" x 4" (152.4 mm x101.6 mm ) Reducer 75 mm dia | Each | 175
488 | 3" x 2" ( 76.2 mm x 50.8 mm ) plain T 75 mm dia | Each | 144
489 | 3" x 2" ( 76.2 mm x 50.8 mm ) Door T 75 mm dia | Each | 168
490 | 3" x 2" ( 76.2 mm x 50.8 mm ) Plain Y 75 mm dia | Each | 168
491 | 3" x 2" ( 76.2 mm x 50.8 mm ) Door Y 75 mm dia | Each | 168
492 | 4" x 3" (101.6 mm x 76.2mm ) Plain T 75 mm dia | Each | 168
493 | 4" x 3" (101.6 mm x 76.2mm ) Door T 75 mm dia | Each | 189
494 | 4" x 3" (101.6 mm x 76.2mm ) Plain Y 75 mm dia | Each | 189
495 | 4" x 3" (101.6 mm x 76.2mm ) Door Y 75 mm dia | Each | 210
496 | 6" x 4" (152.4 mm x101.6 mm ) Plain T 75 mm dia | Each | 315
497 | 6" x 4" (152.4 mm x101.6 mm ) Door T 75 mm dia | Each | 350
498 | 6" x 4" (152.4 mm x101.6 mm ) Plain Y 75 mm dia | Each | 364
499 | 6" x 4" (152.4 mm x101.6 mm ) Door Y 75 mm dia | Each | 392
Special Types of Long Fittings
Plain " T" 27 " (685.8 mm )
500 | 75 mm dia | Each | 413
501 | 100 mm dia | Each | 581
Door "T" 27" (685.8 mm )
502 | 75 mm dia | Each | 462
503 | 100mm dia | Each | 637
Plain " Y" 27" (685.8 mm)
504 | 75 mm dia | Each | 462
505 | 100mm dia | Each | 637
Door " Y" 27" (685.8 mm)
506 | 75 mm dia | Each | 515
507 | 100mm dia | Each | 700
Note : 1) All the items to be used on work are of first quality & ISI and as approved by the Engineer Incharge of the work.
2) Rates given above are
A) Rate for finished item of work
B) Labour charges only
3) RATES
Rates for all varieties of pipes, WC's wash hand basins and othe items are based on market rates plus sales Tax
4) LABOUR
Labour charges are increased based on proposals and market rates
5) Coloured porcelain items:
50% extra may be allowed on basic cost of white porcelain items excluding fittings
6) SSR rates for Sanitary & water supply items are purely for guidance for the officers for preparation of estimates vide para 113 of APPWD code. Authority who prepares the estimate is however responsible for proper rates as envisaged in para 45 of APPWD code.